## Results
File Name | C:\Users\lcornacchione\Vedanta Biosciences\Analytical Development - Documents\ELN\MREK\MREK0037 VE707 qPCR\EDS files from 7aug24 qpcr\1-50_H3203YYV_Run_333959099_Copy.eds
Comment
Operator | RemoteUser
Barcode | H3203YYV
Instrument Type | QuantStudio™ 7 Pro System
Block Type | 384-Well Block
Instrument Name | QS7Pro-2778720110083
Instrument Serial Number | 2778720110083
Heated Cover Serial Number | 2779320110656
Block serial number | 2778320110685
Run Start Date/Time | 2024-08-07 01:30:54 PM EDT
Run End Data/Time | 2024-08-07 03:27:23 PM EDT
Run Duration | 116 minutes 28 seconds
Sample Volume | 10.0
Cover Temperature | 105.0
Passive Reference | ROX
PCR Stage/Step Number | Stage 3 Step 3
Melt Stage Number | 4
Quantification Cycle Method | CT
Analysis Date/Time | 2024-08-14 04:08:29 PM EDT
Software Name and Version | Design & Analysis Software v2.7.0
Plugin Name and Version | Primary Analysis v1.8.0, Standard Curve v1.7.0
Reduce dye signal crosstalk by algorithm | No (Default)
Exported On | 2024-08-14 04:09:19 PM EDT
Well | Well Position | Omit | Sample | Target | Task | Reporter | Quencher | Amp Status | Amp Score | Curve Quality | Result Quality Issues | Cq | Cq Confidence | Cq Mean | Cq SD | Auto Threshold | Threshold | Auto Baseline | Baseline Start | Baseline End | Tm1 | Tm2 | Tm3 | Tm4
1 | A1 | FALSE | target | 01 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3679 |  |  | 15.998 | 0.941 | 16.0264 | 0.15928 | TRUE | 0.14828 | TRUE | 3 | 11 | 79.5666
2 | A2 | FALSE | target | 01 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3743 |  |  | 16.1989 | 0.94242 | 16.0264 | 0.15928 | TRUE | 0.14828 | TRUE | 3 | 12 | 79.5666
3 | A3 | FALSE | target | 02 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3987 |  |  | 14.2254 | 0.93845 | 14.5064 | 0.23783 | TRUE | 0.062037 | TRUE | 3 | 11 | 85.4494
4 | A4 | FALSE | target | 02 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3996 |  |  | 14.3028 | 0.92687 | 14.5064 | 0.23783 | TRUE | 0.062037 | TRUE | 3 | 12 | 85.3589
5 | A5 | FALSE | target | 04 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3637 |  |  | 16.3235 | 0.93385 | 16.3194 | 0.25359 | TRUE | 0.12896 | TRUE | 3 | 12 | 85.2751
6 | A6 | FALSE | target | 04 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3961 |  |  | 15.936 | 0.92835 | 16.3194 | 0.25359 | TRUE | 0.12896 | TRUE | 3 | 12 | 85.2751
7 | A7 | FALSE | target | 06 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4166 |  |  | 15.7527 | 0.95149 | 16.1701 | 0.41355 | TRUE | 0.18226 | TRUE | 3 | 12 | 85.9091
8 | A8 | FALSE | target | 06 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4062 |  |  | 15.9566 | 0.95716 | 16.1701 | 0.41355 | TRUE | 0.18226 | TRUE | 3 | 11 | 85.9091
9 | A9 | FALSE | target | 08 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3798 |  |  | 19.6266 | 0.95074 | 19.4313 | 0.13295 | TRUE | 0.15396 | TRUE | 3 | 15 | 80.0357
10 | A10 | FALSE | target | 08 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4004 |  |  | 19.5647 | 0.93888 | 19.4313 | 0.13295 | TRUE | 0.15396 | TRUE | 3 | 16 | 80.0357
11 | A11 | FALSE | target | 10 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3905 |  |  | 19.1971 | 0.93928 | 19.0134 | 0.28142 | TRUE | 0.23965 | TRUE | 3 | 15 | 78.042
12 | A12 | FALSE | target | 10 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3654 |  |  | 19.3 | 0.93337 | 19.0134 | 0.28142 | TRUE | 0.23965 | TRUE | 3 | 13 | 78.042
13 | A13 | FALSE | target | 12 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3887 |  |  | 18.5894 | 0.9376 | 18.5998 | 0.26603 | TRUE | 0.23106 | TRUE | 3 | 14 | 80.521
14 | A14 | FALSE | target | 12 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3906 |  |  | 18.6194 | 0.95831 | 18.5998 | 0.26603 | TRUE | 0.23106 | TRUE | 3 | 13 | 80.6115
15 | A15 | FALSE | target | 14 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4094 |  |  | 18.7272 | 0.93483 | 18.9077 | 0.16049 | TRUE | 0.24032 | TRUE | 3 | 12 | 86.7634
16 | A16 | FALSE | target | 14 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.406 |  |  | 18.8217 | 0.9529 | 18.9077 | 0.16049 | TRUE | 0.24032 | TRUE | 3 | 12 | 86.6729
17 | A17 | FALSE | target | 16 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3609 |  |  | 19.0382 | 0.9473 | 18.6677 | 0.34297 | TRUE | 0.22278 | TRUE | 3 | 12 | 76.3707
18 | A18 | FALSE | target | 16 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3622 |  |  | 19.1612 | 0.94413 | 18.6677 | 0.34297 | TRUE | 0.22278 | TRUE | 3 | 14 | 76.3707
19 | A19 | FALSE | target | 17 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3363 |  |  | 21.3403 | 0.95364 | 21.327 | 0.018778 | TRUE | 0.20482 | TRUE | 3 | 16 | 76.7337
20 | A20 | FALSE | target | 17 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3211 |  |  | 21.3138 | 0.95075 | 21.327 | 0.018778 | TRUE | 0.20482 | TRUE | 3 | 15 | 76.6429
21 | A21 | FALSE | target | 19 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3652 |  |  | 16.1625 | 0.92944 | 16.673 | 1.083 | TRUE | 0.12836 | TRUE | 3 | 12 | 76.1471
22 | A22 | FALSE | target | 19 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3537 |  |  | 16.2537 | 0.92387 | 16.673 | 1.083 | TRUE | 0.12836 | TRUE | 3 | 12 | 76.2377
23 | A23 | FALSE | target | 21 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3772 |  |  | 16.0145 | 0.93388 | 16.0668 | 0.32533 | TRUE | 0.078514 | TRUE | 3 | 12 | 79.0458
24 | A24 | FALSE | target | 21 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3755 |  |  | 15.7584 | 0.95146 | 16.0668 | 0.32533 | TRUE | 0.078514 | TRUE | 3 | 13 | 79.0458
25 | B1 | FALSE | drop_out | 01 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3558 |  |  | 34.9357 | 0.91414 | 35.6731 | 1.0429 | TRUE | 0.14828 | TRUE | 3 | 30 | 79.114
26 | B2 | FALSE | drop_out | 01 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.14828 | TRUE | 3 | 39 | 92.1468 | 87.893 | 60.47 | 83.5488
27 | B3 | FALSE | drop_out | 02 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.062037 | TRUE | 3 | 39 | 82.1912 | 91.6037 | 88.1645 | 84.6348
28 | B4 | FALSE | drop_out | 02 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.326 |  |  | 33.601 | 0.91882 | 31.9425 | 2.4981 | TRUE | 0.062037 | TRUE | 3 | 30 | 85.0874
29 | B5 | FALSE | drop_out | 04 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12896 | TRUE | 3 | 39 | 91.525 | 84.3693 | 89.2605 | 81.4707
30 | B6 | FALSE | drop_out | 04 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12896 | TRUE | 3 | 39 | 81.5613 | 78.6628 | 93.0648 | 87.9018
31 | B7 | FALSE | drop_out | 06 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.18226 | TRUE | 3 | 39 | 81.8331 | 62.7209 | 93.88 | 77.4853
32 | B8 | FALSE | drop_out | 06 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.18226 | TRUE | 3 | 39 | 90.5286 | 82.1954 | 80.2026 | 68.2462
33 | B9 | FALSE | drop_out | 08 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0.55095 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.15396 | TRUE | 3 | 35 | 94.0822 | 91.9979 | 83.1169 | 89.2792
34 | B10 | FALSE | drop_out | 08 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.15396 | TRUE | 3 | 39 | 82.2106 | 74.5984 | 84.2043 | 90.4573
35 | B11 | FALSE | drop_out | 10 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.23965 | TRUE | 3 | 39 | 68.1642 | 75.8671 | 84.5668 | 73.239
36 | B12 | FALSE | drop_out | 10 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.23965 | TRUE | 3 | 39 | 87.2855 | 79.5826 | 82.12 | 66.2611
37 | B13 | FALSE | drop_out | 12 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.23106 | TRUE | 3 | 39 | 83.7779 | 86.5825 | 81.9685 | 90.2917
38 | B14 | FALSE | drop_out | 12 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.23106 | TRUE | 3 | 39 | 82.1495 | 68.6695 | 93.2772 | 76.7213
39 | B15 | FALSE | drop_out | 14 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.24032 | TRUE | 3 | 39 | 81.8781 | 73.012 | 91.1059 | 88.6633
40 | B16 | FALSE | drop_out | 14 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.24032 | TRUE | 3 | 39 | 90.7441 | 83.0542 | 93.5486 | 71.4741
41 | B17 | FALSE | drop_out | 16 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.22278 | TRUE | 3 | 39 | 79.6373 | 82.4502 | 77.4596 | 93.5204
42 | B18 | FALSE | drop_out | 16 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.22278 | TRUE | 3 | 39 | 93.6111 | 87.8038 | 82.541 | 79.1836
43 | B19 | FALSE | drop_out | 17 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20482 | TRUE | 3 | 39 | 90.7982 | 81.6336 | 75.1911 | 68.1134
44 | B20 | FALSE | drop_out | 17 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20482 | TRUE | 3 | 39 | 50.6008 | 68.0227 | 73.3763 | 70.2004
45 | B21 | FALSE | drop_out | 19 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12836 | TRUE | 3 | 39 | 82.488 | 70.8026 | 87.2889 | 79.9516
46 | B22 | FALSE | drop_out | 19 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12836 | TRUE | 3 | 39 | 68.4474 | 70.9838 | 73.0672 | 51.0552
47 | B23 | FALSE | drop_out | 21 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.078514 | TRUE | 3 | 39 | 81.7633 | 90.4594 | 78.5023 | 84.9337
48 | B24 | FALSE | drop_out | 21 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.078514 | TRUE | 3 | 39 | 63.6465 | 60.8383 | 90.55 | 58.0302
49 | C1 | FALSE | NTC | 01 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.14828 | TRUE | 3 | 39 | 68.1629 | 93.4138 | 83.2773 | 76.3084
50 | C2 | FALSE | NTC | 01 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.14828 | TRUE | 3 | 39 | 89.6126 | 87.35 | 71.6926 | 74.8603
51 | C3 | FALSE | NTC | 02 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.062037 | TRUE | 3 | 39 | 91.1512 | 83.5488 | 81.1957 | 85.5399
52 | C4 | FALSE | NTC | 02 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.062037 | TRUE | 3 | 39 | 76.3989 | 85.5399 | 79.9286 | 90.1556
53 | C5 | FALSE | NTC | 04 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12896 | TRUE | 3 | 39 | 77.4853 | 74.6773 | 81.3802 | 83.4635
54 | C6 | FALSE | NTC | 04 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 1.0608 |  |  | 38 | 0.80541 |  |  | TRUE | 0.12896 | TRUE | 3 | 33 | 72.5034
55 | C7 | FALSE | NTC | 06 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.18226 | TRUE | 3 | 39 | 61.2717 | 64.5325 | 52.4855 | 86.6337
56 | C8 | FALSE | NTC | 06 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.18226 | TRUE | 3 | 39 | 80.9273 | 65.9818 | 56.6522 | 53.7536
57 | C9 | FALSE | NTC | 08 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.15396 | TRUE | 3 | 39 | 88.0105 | 91.1823 | 81.3951 | 68.1642
58 | C10 | FALSE | NTC | 08 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.15396 | TRUE | 3 | 39 | 86.6512 | 80.8513 | 78.1326 | 89.3698
59 | C11 | FALSE | NTC | 10 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.23965 | TRUE | 3 | 39 | 86.5605 | 65.808 | 81.1232 | 63.0893
60 | C12 | FALSE | NTC | 10 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.23965 | TRUE | 3 | 39 | 53.9364 | 51.8521 | 77.2264 | 79.1295
61 | C13 | FALSE | NTC | 12 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.23106 | TRUE | 3 | 39 | 89.9298 | 84.6826 | 78.0783 | 57.9941
62 | C14 | FALSE | NTC | 12 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.23106 | TRUE | 3 | 39 | 86.492 | 74.2786 | 89.6584 | 66.9506
63 | C15 | FALSE | NTC | 14 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.24032 | TRUE | 3 | 39 | 83.3256 | 69.5742 | 77.3546 | 89.4775
64 | C16 | FALSE | NTC | 14 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.24032 | TRUE | 3 | 39 | 81.0638 | 91.4678 | 89.568 | 71.2027
65 | C17 | FALSE | NTC | 16 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.22278 | TRUE | 3 | 39 | 83.5391 | 90.2538 | 81.4521 | 87.8946
66 | C18 | FALSE | NTC | 16 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.22278 | TRUE | 3 | 39 | 90.2538 | 81.2706 | 78.6392 | 75.554
67 | C19 | FALSE | NTC | 17 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20482 | TRUE | 3 | 39 | 87.0779 | 49.9656 | 73.1948 | 69.8375
68 | C20 | FALSE | NTC | 17 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20482 | TRUE | 3 | 39 | 82.9039 | 80.8169 | 55.1378 | 92.8852
69 | C21 | FALSE | NTC | 19 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12836 | TRUE | 3 | 39 | 74.3354 | 85.1149 | 87.8324 | 91.9993
70 | C22 | FALSE | NTC | 19 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12836 | TRUE | 3 | 39 | 86.2019 | 81.9445 | 88.3759 | 79.7704
71 | C23 | FALSE | NTC | 21 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.078514 | TRUE | 3 | 39 | 72.4331 | 50.24 | 60.9289 | 65.0958
72 | C24 | FALSE | NTC | 21 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.078514 | TRUE | 3 | 39 | 75.6036 | 83.4844 | 89.463 | 50.24
73 | D1 | FALSE | target | 01 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.2968 |  |  | 16.124 | 0.93238 | 16.0264 | 0.15928 | TRUE | 0.14828 | TRUE | 3 | 12 | 74.9508
74 | D2 | FALSE | target | 01 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.2997 |  |  | 16.1574 | 0.93902 | 16.0264 | 0.15928 | TRUE | 0.14828 | TRUE | 3 | 12 | 74.8603
75 | D3 | FALSE | target | 03 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3988 |  |  | 17.1912 | 0.9409 | 17.7595 | 0.51158 | TRUE | 0.25458 | TRUE | 3 | 12 | 85.2684
76 | D4 | FALSE | target | 03 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.397 |  |  | 17.4653 | 0.93251 | 17.7595 | 0.51158 | TRUE | 0.25458 | TRUE | 3 | 12 | 85.1779
77 | D5 | FALSE | target | 05 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4049 |  |  | 17.153 | 0.91645 | 17.1088 | 0.10213 | TRUE | 0.26244 | TRUE | 3 | 11 | 86.4526
78 | D6 | FALSE | target | 05 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4081 |  |  | 17.1651 | 0.93606 | 17.1088 | 0.10213 | TRUE | 0.26244 | TRUE | 3 | 11 | 86.4526
79 | D7 | FALSE | target | 06 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3911 |  |  | 16.0119 | 0.93605 | 16.1701 | 0.41355 | TRUE | 0.18226 | TRUE | 3 | 11 | 85.6374
80 | D8 | FALSE | target | 06 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3914 |  |  | 15.9184 | 0.95161 | 16.1701 | 0.41355 | TRUE | 0.18226 | TRUE | 3 | 11 | 85.6374
81 | D9 | FALSE | target | 08 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3438 |  |  | 19.3486 | 0.92501 | 19.4313 | 0.13295 | TRUE | 0.15396 | TRUE | 3 | 14 | 77.5889
82 | D10 | FALSE | target | 08 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3521 |  |  | 19.2973 | 0.93685 | 19.4313 | 0.13295 | TRUE | 0.15396 | TRUE | 3 | 14 | 77.5889
83 | D11 | FALSE | target | 10 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4126 |  |  | 18.7037 | 0.93786 | 19.0134 | 0.28142 | TRUE | 0.23965 | TRUE | 3 | 13 | 78.5857
84 | D12 | FALSE | target | 10 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4026 |  |  | 18.8527 | 0.93795 | 19.0134 | 0.28142 | TRUE | 0.23965 | TRUE | 3 | 13 | 78.5857
85 | D13 | FALSE | target | 12 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3925 |  |  | 18.9834 | 0.925 | 18.5998 | 0.26603 | TRUE | 0.23106 | TRUE | 3 | 14 | 76.269
86 | D14 | FALSE | target | 12 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4019 |  |  | 18.7897 | 0.94381 | 18.5998 | 0.26603 | TRUE | 0.23106 | TRUE | 3 | 13 | 76.269
87 | D15 | FALSE | target | 14 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4143 |  |  | 18.8389 | 0.93198 | 18.9077 | 0.16049 | TRUE | 0.24032 | TRUE | 3 | 12 | 79.2544
88 | D16 | FALSE | target | 14 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4109 |  |  | 18.8438 | 0.93853 | 18.9077 | 0.16049 | TRUE | 0.24032 | TRUE | 3 | 13 | 79.164
89 | D17 | FALSE | target | 16 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4251 |  |  | 18.4998 | 0.94405 | 18.6677 | 0.34297 | TRUE | 0.22278 | TRUE | 3 | 13 | 77.0966
90 | D18 | FALSE | target | 16 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.427 |  |  | 18.5376 | 0.93991 | 18.6677 | 0.34297 | TRUE | 0.22278 | TRUE | 3 | 12 | 77.0966
91 | D19 | FALSE | target | 18 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.402 |  |  | 15.9433 | 0.93829 | 16.199 | 0.22807 | TRUE | 0.14064 | TRUE | 3 | 11 | 78.2762
92 | D20 | FALSE | target | 18 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.391 |  |  | 16.1489 | 0.93236 | 16.199 | 0.22807 | TRUE | 0.14064 | TRUE | 3 | 12 | 78.2762
93 | D21 | FALSE | target | 20 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.439 |  |  | 14.9231 | 0.95785 | 15.1803 | 0.24393 | TRUE | 0.12754 | TRUE | 3 | 11 | 84.1185
94 | D22 | FALSE | target | 20 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4405 |  |  | 15.0715 | 0.94688 | 15.1803 | 0.24393 | TRUE | 0.12754 | TRUE | 3 | 11 | 84.1185
95 | D23 | FALSE | target | 21 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.2794 |  |  | 15.9275 | 0.92369 | 16.0668 | 0.32533 | TRUE | 0.078514 | TRUE | 3 | 12 | 76.9623
96 | D24 | FALSE | target | 21 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.2715 |  |  | 15.8857 | 0.93639 | 16.0668 | 0.32533 | TRUE | 0.078514 | TRUE | 3 | 12 | 76.9623
97 | E1 | FALSE | drop_out | 01 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.14828 | TRUE | 3 | 39 | 92.3278 | 85.1779 | 89.9746 | 64.5428
98 | E2 | FALSE | drop_out | 01 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.14828 | TRUE | 3 | 39 | 86.988 | 75.2223 | 92.9613 | 78.2995
99 | E3 | FALSE | drop_out | 03 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.25458 | TRUE | 3 | 39 | 81.6482 | 89.5221 | 50.8765 | 74.3173
100 | E4 | FALSE | drop_out | 03 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.25458 | TRUE | 3 | 39 | 86.7165 | 81.9197 | 54.2252 | 67.4389
101 | E5 | FALSE | drop_out | 05 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.26244 | TRUE | 3 | 39 | 89.5323 | 83.1917 | 85.0939 | 75.2208
102 | E6 | FALSE | drop_out | 05 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4109 |  |  | 29.2318 | 0.93528 | 29.2318 |  | TRUE | 0.26244 | TRUE | 3 | 24 | 86.2714
103 | E7 | FALSE | drop_out | 06 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.18226 | TRUE | 3 | 39 | 87.7207 | 56.0181 | 59.8224 | 83.9164
104 | E8 | FALSE | drop_out | 06 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.18226 | TRUE | 3 | 39 | 72.6846 | 89.9852 | 81.8331 | 50.9457
105 | E9 | FALSE | drop_out | 08 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.15396 | TRUE | 3 | 39 | 93.2666 | 88.5542 | 78.9482 | 82.3013
106 | E10 | FALSE | drop_out | 08 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.15396 | TRUE | 3 | 39 | 74.4171 | 77.4077 | 82.7544 | 93.9009
107 | E11 | FALSE | drop_out | 10 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.23965 | TRUE | 3 | 39 | 80.3982 | 88.9167 | 73.239 | 86.4699
108 | E12 | FALSE | drop_out | 10 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.23965 | TRUE | 3 | 39 | 71.4266 | 90.4573 | 87.1949 | 66.2611
109 | E13 | FALSE | drop_out | 12 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.23106 | TRUE | 3 | 39 | 91.6488 | 47.0473 | 89.1156 | 87.2158
110 | E14 | FALSE | drop_out | 12 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.23106 | TRUE | 3 | 39 | 79.2544 | 92.0106 | 54.4658 | 93.82
111 | E15 | FALSE | drop_out | 14 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.24032 | TRUE | 3 | 39 | 80.7924 | 83.0542 | 85.4968 | 70.4789
112 | E16 | FALSE | drop_out | 14 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.24032 | TRUE | 3 | 39 | 74.4596 | 77.0832 | 82.059 | 85.9492
113 | E17 | FALSE | drop_out | 16 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.22278 | TRUE | 3 | 39 | 73.83 | 79.0021 | 90.0723 | 85.6261
114 | E18 | FALSE | drop_out | 16 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.22278 | TRUE | 3 | 39 | 76.0077 | 79.0021 | 72.8319 | 85.5353
115 | E19 | FALSE | drop_out | 18 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.14064 | TRUE | 3 | 39 | 77.4596 | 90.4352 | 93.1574 | 85.5353
116 | E20 | FALSE | drop_out | 18 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.14064 | TRUE | 3 | 39 | 79.0929 | 81.9965 | 93.3389 | 89.5279
117 | E21 | FALSE | drop_out | 20 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12754 | TRUE | 3 | 39 | 66.4546 | 69.8968 | 84.7526 | 61.2913
118 | E22 | FALSE | drop_out | 20 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.1772 |  |  | 36.622 | 0.8563 | 36.622 |  | TRUE | 0.12754 | TRUE | 3 | 32 | 73.1578
119 | E23 | FALSE | drop_out | 21 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.078514 | TRUE | 3 | 39 | 91.637 | 81.1292 | 50.5117 | 72.9766
120 | E24 | FALSE | drop_out | 21 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.078514 | TRUE | 3 | 39 | 90.9123 | 87.5607 | 79.1364 | 70.5309
121 | F1 | FALSE | NTC | 01 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.14828 | TRUE | 3 | 39 | 79.4761 | 64.1807 | 73.3217 | 57.3024
122 | F2 | FALSE | NTC | 01 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.14828 | TRUE | 3 | 39 | 85.2684 | 91.6942 | 83.4583 | 75.6749
123 | F3 | FALSE | NTC | 03 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.25458 | TRUE | 3 | 39 | 52.5056 | 86.8975 | 55.9448 | 71.6926
124 | F4 | FALSE | NTC | 03 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.25458 | TRUE | 3 | 39 | 81.1957 | 57.3929 | 71.1496 | 60.108
125 | F5 | FALSE | NTC | 05 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.26244 | TRUE | 3 | 39 | 79.6592 | 83.7352 | 90.1663 | 93.246
126 | F6 | FALSE | NTC | 05 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.26244 | TRUE | 3 | 39 | 91.8873 | 87.9924 | 79.6592 | 93.9706
127 | F7 | FALSE | NTC | 06 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.18226 | TRUE | 3 | 39 | 52.6667 | 88.1736 | 50.5834 | 75.5831
128 | F8 | FALSE | NTC | 06 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.18226 | TRUE | 3 | 39 | 52.0326 | 76.9418 | 49.8588 | 68.9709
129 | F9 | FALSE | NTC | 08 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.15396 | TRUE | 3 | 39 | 87.2855 | 79.5826 | 72.1516 | 74.5077
130 | F10 | FALSE | NTC | 08 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.15396 | TRUE | 3 | 39 | 83.7512 | 78.4951 | 86.923 | 72.0609
131 | F11 | FALSE | NTC | 10 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.23965 | TRUE | 3 | 39 | 82.3013 | 71.7891 | 85.1106 | 79.4014
132 | F12 | FALSE | NTC | 10 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.23965 | TRUE | 3 | 39 | 89.6417 | 79.4014 | 75.5952 | 86.1074
133 | F13 | FALSE | NTC | 12 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.23106 | TRUE | 3 | 39 | 80.1591 | 83.7779 | 70.2075 | 51.2089
134 | F14 | FALSE | NTC | 12 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.23106 | TRUE | 3 | 39 | 92.1916 | 89.387 | 86.4015 | 63.4223
135 | F15 | FALSE | NTC | 14 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.24032 | TRUE | 3 | 39 | 75.3643 | 89.387 | 86.3111 | 84.3207
136 | F16 | FALSE | NTC | 14 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.24032 | TRUE | 3 | 39 | 93.3677 | 79.4354 | 72.1074 | 75.2738
137 | F17 | FALSE | NTC | 16 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.22278 | TRUE | 3 | 39 | 78.367 | 86.6242 | 68.9301 | 72.8319
138 | F18 | FALSE | NTC | 16 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.22278 | TRUE | 3 | 39 | 90.4352 | 75.8263 | 78.0947 | 86.2612
139 | F19 | FALSE | NTC | 18 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.14064 | TRUE | 3 | 39 | 89.8908 | 76.0077 | 77.9133 | 87.1686
140 | F20 | FALSE | NTC | 18 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.14064 | TRUE | 3 | 39 | 75.0096 | 78.6392 | 71.8337 | 86.2612
141 | F21 | FALSE | NTC | 20 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12754 | TRUE | 3 | 39 | 78.1399 | 91.0029 | 81.5821 | 66.9075
142 | F22 | FALSE | NTC | 20 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12754 | TRUE | 3 | 39 | 79.5893 | 62.7406 | 91.7276 | 48.8812
143 | F23 | FALSE | NTC | 21 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.078514 | TRUE | 3 | 39 | 68.3568 | 54.4069 | 70.8932 | 49.2436
144 | F24 | FALSE | NTC | 21 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.078514 | TRUE | 3 | 39 | 67.3604 | 88.0136 | 73.2484 | 71.3461
145 | G1 | FALSE | target | 01 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3451 |  |  | 15.8456 | 0.93208 | 16.0264 | 0.15928 | TRUE | 0.14828 | TRUE | 3 | 12 | 78.209
146 | G2 | FALSE | target | 01 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3567 |  |  | 15.8342 | 0.93228 | 16.0264 | 0.15928 | TRUE | 0.14828 | TRUE | 3 | 12 | 78.209
147 | G3 | FALSE | target | 03 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4023 |  |  | 18.148 | 0.94672 | 17.7595 | 0.51158 | TRUE | 0.25458 | TRUE | 3 | 12 | 90.3367
148 | G4 | FALSE | target | 03 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3923 |  |  | 18.2335 | 0.95398 | 17.7595 | 0.51158 | TRUE | 0.25458 | TRUE | 3 | 12 | 90.3367
149 | G5 | FALSE | target | 05 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4102 |  |  | 17.2465 | 0.94057 | 17.1088 | 0.10213 | TRUE | 0.26244 | TRUE | 3 | 13 | 83.1012
150 | G6 | FALSE | target | 05 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4152 |  |  | 17.0524 | 0.94454 | 17.1088 | 0.10213 | TRUE | 0.26244 | TRUE | 3 | 12 | 83.0106
151 | G7 | FALSE | target | 07 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4106 |  |  | 16.6249 | 0.94258 | 16.9678 | 0.46301 | TRUE | 0.221 | TRUE | 3 | 11 | 88.4453
152 | G8 | FALSE | target | 07 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4082 |  |  | 16.5236 | 0.93345 | 16.9678 | 0.46301 | TRUE | 0.221 | TRUE | 3 | 11 | 88.4453
153 | G9 | FALSE | target | 09 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3876 |  |  | 18.8196 | 0.93851 | 18.5339 | 0.15246 | TRUE | 0.24402 | TRUE | 3 | 13 | 77.6795
154 | G10 | FALSE | target | 09 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3906 |  |  | 18.5282 | 0.94158 | 18.5339 | 0.15246 | TRUE | 0.24402 | TRUE | 3 | 13 | 77.5889
155 | G11 | FALSE | target | 11 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3881 |  |  | 18.367 | 0.9285 | 18.4336 | 0.10816 | TRUE | 0.20359 | TRUE | 3 | 14 | 79.1295
156 | G12 | FALSE | target | 11 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3815 |  |  | 18.3263 | 0.93018 | 18.4336 | 0.10816 | TRUE | 0.20359 | TRUE | 3 | 14 | 79.1295
157 | G13 | FALSE | target | 13 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3979 |  |  | 20.6633 | 0.94793 | 19.819 | 0.64935 | TRUE | 0.20527 | TRUE | 3 | 15 | 77.0832
158 | G14 | FALSE | target | 13 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3977 |  |  | 20.6492 | 0.9462 | 19.819 | 0.64935 | TRUE | 0.20527 | TRUE | 3 | 15 | 77.0832
159 | G15 | FALSE | target | 14 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4242 |  |  | 19.1208 | 0.93163 | 18.9077 | 0.16049 | TRUE | 0.24032 | TRUE | 3 | 13 | 79.7973
160 | G16 | FALSE | target | 14 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.417 |  |  | 19.0936 | 0.943 | 18.9077 | 0.16049 | TRUE | 0.24032 | TRUE | 3 | 14 | 79.7973
161 | G17 | FALSE | target | 16 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4093 |  |  | 18.3519 | 0.92831 | 18.6677 | 0.34297 | TRUE | 0.22278 | TRUE | 3 | 13 | 79.728
162 | G18 | FALSE | target | 16 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4078 |  |  | 18.4176 | 0.95299 | 18.6677 | 0.34297 | TRUE | 0.22278 | TRUE | 3 | 13 | 79.728
163 | G19 | FALSE | target | 18 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3319 |  |  | 16.2079 | 0.93564 | 16.199 | 0.22807 | TRUE | 0.14064 | TRUE | 3 | 12 | 75.2818
164 | G20 | FALSE | target | 18 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3157 |  |  | 16.4957 | 0.93368 | 16.199 | 0.22807 | TRUE | 0.14064 | TRUE | 3 | 12 | 75.2818
165 | G21 | FALSE | target | 20 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3253 |  |  | 15.4369 | 0.9096 | 15.1803 | 0.24393 | TRUE | 0.12754 | TRUE | 3 | 12 | 81.1292
166 | G22 | FALSE | target | 20 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3017 |  |  | 15.5047 | 0.93644 | 15.1803 | 0.24393 | TRUE | 0.12754 | TRUE | 3 | 11 | 81.1292
169 | H1 | FALSE | drop_out | 01 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.14828 | TRUE | 3 | 39 | 79.5666 | 86.5354 | 77.0324 | 73.6838
170 | H2 | FALSE | drop_out | 01 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.2499 |  |  | 36.4105 | 0.89728 | 35.6731 | 1.0429 | TRUE | 0.14828 | TRUE | 3 | 32 | 77.9375
171 | H3 | FALSE | drop_out | 03 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.25458 | TRUE | 3 | 39 | 77.485 | 72.5072 | 90.1556 | 86.626
172 | H4 | FALSE | drop_out | 03 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0.65576 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.25458 | TRUE | 3 | 39 | 86.4449 | 91.8752 | 72.5072 | 94.1379
173 | H5 | FALSE | drop_out | 05 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.26244 | TRUE | 3 | 39 | 55.2935 | 64.1702 | 90.6192 | 52.0326
174 | H6 | FALSE | drop_out | 05 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.26244 | TRUE | 3 | 39 | 84.1881 | 61.9963 | 64.2608 | 52.2138
175 | H7 | FALSE | drop_out | 07 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.221 | TRUE | 3 | 39 | 76.3078 | 84.5504 | 93.7895 | 87.9018
176 | H8 | FALSE | drop_out | 07 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.221 | TRUE | 3 | 39 | 92.3402 | 73.1375 | 86.9055 | 59.7318
177 | H9 | FALSE | drop_out | 09 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.24402 | TRUE | 3 | 39 | 84.2043 | 88.8261 | 80.8513 | 78.3139
178 | H10 | FALSE | drop_out | 09 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0.5254 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.24402 | TRUE | 3 | 39 | 84.1137 | 76.1389 | 86.5605 | 91.001
179 | H11 | FALSE | drop_out | 11 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20359 | TRUE | 3 | 39 | 76.7733 | 86.923 | 89.7323 | 73.7828
180 | H12 | FALSE | drop_out | 11 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20359 | TRUE | 3 | 39 | 73.6015 | 70.4297 | 89.098 | 79.8545
181 | H13 | FALSE | drop_out | 13 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20527 | TRUE | 3 | 39 | 91.7392 | 77.5355 | 60.1654 | 85.6778
182 | H14 | FALSE | drop_out | 13 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20527 | TRUE | 3 | 39 | 76.9022 | 84.2303 | 87.2158 | 92.1011
183 | H15 | FALSE | drop_out | 14 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.24032 | TRUE | 3 | 39 | 77.1736 | 83.5065 | 86.1301 | 66.4078
184 | H16 | FALSE | drop_out | 14 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.24032 | TRUE | 3 | 39 | 71.3836 | 79.7068 | 75.8166 | 86.1301
185 | H17 | FALSE | drop_out | 16 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.22278 | TRUE | 3 | 39 | 89.3464 | 59.584 | 75.0096 | 57.2248
186 | H18 | FALSE | drop_out | 16 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.22278 | TRUE | 3 | 39 | 83.4483 | 80.2725 | 76.0985 | 92.0686
187 | H19 | FALSE | drop_out | 18 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.14064 | TRUE | 3 | 39 | 82.4502 | 91.9778 | 60.1284 | 79.4558
188 | H20 | FALSE | drop_out | 18 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.14064 | TRUE | 3 | 39 | 81.0891 | 76.28 | 83.7206 | 74.2837
189 | H21 | FALSE | drop_out | 20 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12754 | TRUE | 3 | 39 | 82.3974 | 85.8396 | 87.8324 | 68.538
190 | H22 | FALSE | drop_out | 20 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12754 | TRUE | 3 | 39 | 64.4617 | 68.3568 | 89.6441 | 70.712
193 | I1 | FALSE | NTC | 01 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.14828 | TRUE | 3 | 39 | 76.3989 | 89.8841 | 78.752 | 83.1868
194 | I2 | FALSE | NTC | 01 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.14828 | TRUE | 3 | 39 | 89.8841 | 92.8708 | 63.7282 | 53.3201
195 | I3 | FALSE | NTC | 03 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.25458 | TRUE | 3 | 39 | 77.847 | 83.0963 | 89.5221 | 55.4923
196 | I4 | FALSE | NTC | 03 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.25458 | TRUE | 3 | 39 | 92.6898 | 74.8603 | 82.2817 | 84.4538
197 | I5 | FALSE | NTC | 05 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.26244 | TRUE | 3 | 39 | 82.8294 | 58.3732 | 78.844 | 63.5361
198 | I6 | FALSE | NTC | 05 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0.52346 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.26244 | TRUE | 3 | 39 | 82.4671 | 63.355 | 87.4489 | 74.5868
199 | I7 | FALSE | NTC | 07 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.221 | TRUE | 3 | 39 | 93.0648 | 78.9345 | 85.5468 | 80.9273
200 | I8 | FALSE | NTC | 07 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.221 | TRUE | 3 | 39 | 91.1627 | 74.5868 | 87.4489 | 93.6989
201 | I9 | FALSE | NTC | 09 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.24402 | TRUE | 3 | 39 | 74.5984 | 87.3761 | 60.1894 | 65.7174
202 | I10 | FALSE | NTC | 09 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.24402 | TRUE | 3 | 39 | 92.2697 | 76.0483 | 81.4857 | 86.1074
203 | I11 | FALSE | NTC | 11 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20359 | TRUE | 3 | 39 | 89.5511 | 92.8135 | 86.1074 | 79.6732
204 | I12 | FALSE | NTC | 11 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20359 | TRUE | 3 | 39 | 86.5605 | 89.2792 | 78.042 | 68.8891
205 | I13 | FALSE | NTC | 13 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20527 | TRUE | 3 | 39 | 77.4451 | 82.5113 | 85.2254 | 89.9298
206 | I14 | FALSE | NTC | 13 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20527 | TRUE | 3 | 39 | 86.0397 | 89.7489 | 67.222 | 78.0783
207 | I15 | FALSE | NTC | 14 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.24032 | TRUE | 3 | 39 | 90.0203 | 68.2172 | 76.4499 | 86.0397
208 | I16 | FALSE | NTC | 14 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.24032 | TRUE | 3 | 39 | 81.4257 | 78.2593 | 73.9167 | 92.9153
209 | I17 | FALSE | NTC | 16 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0.32044 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.22278 | TRUE | 3 | 39 | 91.7056 | 81.815 | 70.7449 | 68.4764
210 | I18 | FALSE | NTC | 16 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.22278 | TRUE | 3 | 39 | 85.0816 | 90.7982 | 70.9264 | 60.7636
211 | I19 | FALSE | NTC | 18 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.14064 | TRUE | 3 | 39 | 63.6672 | 74.7374 | 66.3894 | 76.7337
212 | I20 | FALSE | NTC | 18 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.14064 | TRUE | 3 | 39 | 78.2762 | 92.8852 | 90.2538 | 81.7243
213 | I21 | FALSE | NTC | 20 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12754 | TRUE | 3 | 39 | 85.3867 | 78.2305 | 49.153 | 74.2448
214 | I22 | FALSE | NTC | 20 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12754 | TRUE | 3 | 39 | 79.1364 | 85.6584 | 74.8789 | 53.0481
217 | J1 | FALSE | target | 02 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3795 |  |  | 14.4494 | 0.93049 | 14.5064 | 0.23783 | TRUE | 0.062037 | TRUE | 3 | 11 | 76.7609
218 | J2 | FALSE | target | 02 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3728 |  |  | 14.5188 | 0.95554 | 14.5064 | 0.23783 | TRUE | 0.062037 | TRUE | 3 | 11 | 76.6704
219 | J3 | FALSE | target | 04 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3972 |  |  | 16.5468 | 0.96483 | 16.3194 | 0.25359 | TRUE | 0.12896 | TRUE | 3 | 12 | 78.752
220 | J4 | FALSE | target | 04 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4 |  |  | 16.6392 | 0.95186 | 16.3194 | 0.25359 | TRUE | 0.12896 | TRUE | 3 | 13 | 78.752
221 | J5 | FALSE | target | 05 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4212 |  |  | 17.0826 | 0.95566 | 17.1088 | 0.10213 | TRUE | 0.26244 | TRUE | 3 | 12 | 86.9055
222 | J6 | FALSE | target | 05 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4319 |  |  | 16.9532 | 0.94671 | 17.1088 | 0.10213 | TRUE | 0.26244 | TRUE | 3 | 11 | 86.9055
223 | J7 | FALSE | target | 07 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3443 |  |  | 17.2648 | 0.94569 | 16.9678 | 0.46301 | TRUE | 0.221 | TRUE | 3 | 11 | 75.5831
224 | J8 | FALSE | target | 07 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3447 |  |  | 17.4578 | 0.94317 | 16.9678 | 0.46301 | TRUE | 0.221 | TRUE | 3 | 13 | 75.5831
225 | J9 | FALSE | target | 09 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4217 |  |  | 18.5546 | 0.94723 | 18.5339 | 0.15246 | TRUE | 0.24402 | TRUE | 3 | 13 | 78.4951
226 | J10 | FALSE | target | 09 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4306 |  |  | 18.4298 | 0.9503 | 18.5339 | 0.15246 | TRUE | 0.24402 | TRUE | 3 | 12 | 78.4951
227 | J11 | FALSE | target | 11 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3977 |  |  | 18.4756 | 0.94894 | 18.4336 | 0.10816 | TRUE | 0.20359 | TRUE | 3 | 13 | 78.3139
228 | J12 | FALSE | target | 11 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3829 |  |  | 18.5654 | 0.94054 | 18.4336 | 0.10816 | TRUE | 0.20359 | TRUE | 3 | 13 | 78.3139
229 | J13 | FALSE | target | 13 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.357 |  |  | 19.381 | 0.94222 | 19.819 | 0.64935 | TRUE | 0.20527 | TRUE | 3 | 14 | 74.6405
230 | J14 | FALSE | target | 13 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3495 |  |  | 19.3542 | 0.94647 | 19.819 | 0.64935 | TRUE | 0.20527 | TRUE | 3 | 14 | 74.6405
231 | J15 | FALSE | target | 15 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4173 |  |  | 18.5709 | 0.94896 | 18.8356 | 0.26607 | TRUE | 0.16815 | TRUE | 3 | 14 | 84.5921
232 | J16 | FALSE | target | 15 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4112 |  |  | 18.6462 | 0.94283 | 18.8356 | 0.26607 | TRUE | 0.16815 | TRUE | 3 | 14 | 84.5017
233 | J17 | FALSE | target | 17 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20482 | TRUE | 3 | 39 | 78.004 | 80.8169 | 65.1191 | 75.2818
234 | J18 | FALSE | target | 17 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20482 | TRUE | 3 | 39 | 79.3651 | 92.8852 | 81.9965 | 73.7393
235 | J19 | FALSE | target | 19 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4179 |  |  | 15.7514 | 0.93978 | 16.673 | 1.083 | TRUE | 0.12836 | TRUE | 3 | 11 | 76.4614
236 | J20 | FALSE | target | 19 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4187 |  |  | 15.7803 | 0.95473 | 16.673 | 1.083 | TRUE | 0.12836 | TRUE | 3 | 12 | 76.4614
237 | J21 | FALSE | target | 20 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4403 |  |  | 14.9602 | 0.95569 | 15.1803 | 0.24393 | TRUE | 0.12754 | TRUE | 3 | 9 | 81.9445
238 | J22 | FALSE | target | 20 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4403 |  |  | 15.1853 | 0.94982 | 15.1803 | 0.24393 | TRUE | 0.12754 | TRUE | 3 | 11 | 81.9445
241 | K1 | FALSE | drop_out | 02 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.062037 | TRUE | 3 | 39 | 55.3113 | 57.7549 | 78.209 | 91.3322
242 | K2 | FALSE | drop_out | 02 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.2906 |  |  | 34.5534 | 0.91097 | 31.9425 | 2.4981 | TRUE | 0.062037 | TRUE | 3 | 31 | 76.5799
243 | K3 | FALSE | drop_out | 04 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12896 | TRUE | 3 | 39 | 89.5221 | 78.933 | 82.2817 | 75.4939
244 | K4 | FALSE | drop_out | 04 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12896 | TRUE | 3 | 39 | 78.4805 | 89.3411 | 87.4405 | 76.3989
245 | K5 | FALSE | drop_out | 05 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0.82546 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.26244 | TRUE | 3 | 36 | 73.9527 | 64.0796
246 | K6 | FALSE | drop_out | 05 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.26244 | TRUE | 3 | 39 | 89.2605 | 77.757 | 92.159 | 69.2426
247 | K7 | FALSE | drop_out | 07 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.221 | TRUE | 3 | 39 | 84.007 | 77.6664 | 52.395 | 87.1772
248 | K8 | FALSE | drop_out | 07 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0.60525 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.221 | TRUE | 3 | 6 | 86.0903 | 60.5471 | 63.8985 | 57.1956
249 | K9 | FALSE | drop_out | 09 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.24402 | TRUE | 3 | 39 | 81.6669 | 73.1484 | 89.1886 | 77.7701
250 | K10 | FALSE | drop_out | 09 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.24402 | TRUE | 3 | 39 | 78.4951 | 69.886 | 85.6543 | 91.2729
251 | K11 | FALSE | drop_out | 11 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20359 | TRUE | 3 | 39 | 79.5826 | 88.6448 | 47.321 | 68.7079
252 | K12 | FALSE | drop_out | 11 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20359 | TRUE | 3 | 39 | 82.845 | 77.5889 | 74.7796 | 59.2832
253 | K13 | FALSE | drop_out | 13 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20527 | TRUE | 3 | 39 | 89.2966 | 68.8504 | 77.8069 | 86.2206
254 | K14 | FALSE | drop_out | 13 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20527 | TRUE | 3 | 39 | 71.7455 | 76.269 | 93.1868 | 60.8891
255 | K15 | FALSE | drop_out | 15 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3248 |  |  | 35.389 | 0.92327 | 35.389 |  | TRUE | 0.16815 | TRUE | 3 | 30 | 73.8263
256 | K16 | FALSE | drop_out | 15 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.16815 | TRUE | 3 | 39 | 77.8974 | 86.8539 | 91.7392 | 84.954
257 | K17 | FALSE | drop_out | 17 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20482 | TRUE | 3 | 39 | 81.5428 | 86.1705 | 68.3857 | 78.6392
258 | K18 | FALSE | drop_out | 17 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20482 | TRUE | 3 | 39 | 82.0873 | 89.2556 | 72.5597 | 78.1855
259 | K19 | FALSE | drop_out | 19 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12836 | TRUE | 3 | 39 | 83.2669 | 89.4371 | 78.004 | 85.8076
260 | K20 | FALSE | drop_out | 19 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12836 | TRUE | 3 | 39 | 83.5391 | 81.2706 | 92.613 | 64.7561
261 | K21 | FALSE | drop_out | 20 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12754 | TRUE | 3 | 39 | 75.513 | 83.1221 | 89.1006 | 68.4474
262 | K22 | FALSE | drop_out | 20 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12754 | TRUE | 3 | 39 | 78.1399 | 72.7955 | 69.8062 | 75.4224
265 | L1 | FALSE | NTC | 02 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.062037 | TRUE | 3 | 39 | 80.0191 | 84.1823 | 64.4523 | 54.5872
266 | L2 | FALSE | NTC | 02 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.062037 | TRUE | 3 | 39 | 79.7476 | 47.3468 | 55.5828 | 76.5799
267 | L3 | FALSE | NTC | 04 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12896 | TRUE | 3 | 39 | 92.6898 | 88.6171 | 80.9241 | 77.3945
268 | L4 | FALSE | NTC | 04 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12896 | TRUE | 3 | 39 | 79.9286 | 82.1912 | 65.5383 | 90.7892
269 | L5 | FALSE | NTC | 05 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0.77655 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.26244 | TRUE | 3 | 39 | 73.1375 | 47.1414
270 | L6 | FALSE | NTC | 05 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.26244 | TRUE | 3 | 39 | 80.0215 | 91.525 | 93.246 | 77.3041
271 | L7 | FALSE | NTC | 07 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.221 | TRUE | 3 | 39 | 74.0433 | 77.4853 | 80.4744 | 58.3732
272 | L8 | FALSE | NTC | 07 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.221 | TRUE | 3 | 39 | 92.159 | 89.3511 | 69.7861 | 56.0181
273 | L9 | FALSE | NTC | 09 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.24402 | TRUE | 3 | 39 | 82.7544 | 75.9577 | 90.9104 | 93.2666
274 | L10 | FALSE | NTC | 09 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.24402 | TRUE | 3 | 39 | 85.0199 | 74.7796 | 93.2666 | 82.0294
275 | L11 | FALSE | NTC | 11 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20359 | TRUE | 3 | 39 | 73.8734 | 51.4896 | 93.4478 | 48.8616
276 | L12 | FALSE | NTC | 11 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0.8238 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20359 | TRUE | 3 | 34 | 76.2296 | 56.2926 | 87.1949
277 | L13 | FALSE | NTC | 13 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20527 | TRUE | 3 | 39 | 79.6163 | 74.8214 | 77.3546 | 90.2013
278 | L14 | FALSE | NTC | 13 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20527 | TRUE | 3 | 39 | 86.8539 | 76.6308 | 79.8877 | 74.55
279 | L15 | FALSE | NTC | 15 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.16815 | TRUE | 3 | 39 | 91.1059 | 84.2303 | 86.492 | 70.7503
280 | L16 | FALSE | NTC | 15 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.2926 |  |  | 36.189 | 0.91099 | 36.189 |  | TRUE | 0.16815 | TRUE | 3 | 30 | 73.6453
281 | L17 | FALSE | NTC | 17 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20482 | TRUE | 3 | 39 | 82.4502 | 93.2482 | 78.6392 | 87.0779
282 | L18 | FALSE | NTC | 17 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20482 | TRUE | 3 | 39 | 80.1817 | 84.3557 | 68.2949 | 65.2098
283 | L19 | FALSE | NTC | 19 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12836 | TRUE | 3 | 39 | 86.352 | 80.3632 | 77.7318 | 75.3726
284 | L20 | FALSE | NTC | 19 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12836 | TRUE | 3 | 39 | 91.6149 | 60.1284 | 72.8319 | 80.5447
285 | L21 | FALSE | NTC | 20 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12754 | TRUE | 3 | 39 | 76.3282 | 79.861 | 52.5952 | 89.463
286 | L22 | FALSE | NTC | 20 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12754 | TRUE | 3 | 39 | 80.3139 | 77.3247 | 87.4701 | 55.3127
289 | M1 | FALSE | target | 02 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.2574 |  |  | 14.6738 | 0.91489 | 14.5064 | 0.23783 | TRUE | 0.062037 | TRUE | 3 | 12 | 74.4983
290 | M2 | FALSE | target | 02 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.2648 |  |  | 14.8684 | 0.91944 | 14.5064 | 0.23783 | TRUE | 0.062037 | TRUE | 3 | 12 | 74.4078
291 | M3 | FALSE | target | 04 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4065 |  |  | 16.2922 | 0.93607 | 16.3194 | 0.25359 | TRUE | 0.12896 | TRUE | 3 | 11 | 81.4672
292 | M4 | FALSE | target | 04 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3926 |  |  | 16.1786 | 0.94235 | 16.3194 | 0.25359 | TRUE | 0.12896 | TRUE | 3 | 12 | 81.4672
293 | M5 | FALSE | target | 06 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3371 |  |  | 16.741 | 0.9335 | 16.1701 | 0.41355 | TRUE | 0.18226 | TRUE | 3 | 11 | 75.6737
294 | M6 | FALSE | target | 06 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3493 |  |  | 16.6402 | 0.92819 | 16.1701 | 0.41355 | TRUE | 0.18226 | TRUE | 3 | 11 | 75.6737
295 | M7 | FALSE | target | 08 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4262 |  |  | 19.3491 | 0.94541 | 19.4313 | 0.13295 | TRUE | 0.15396 | TRUE | 3 | 13 | 79.0251
296 | M8 | FALSE | target | 08 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4252 |  |  | 19.4015 | 0.94523 | 19.4313 | 0.13295 | TRUE | 0.15396 | TRUE | 3 | 15 | 79.0251
297 | M9 | FALSE | target | 09 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4305 |  |  | 18.4802 | 0.95115 | 18.5339 | 0.15246 | TRUE | 0.24402 | TRUE | 3 | 13 | 82.3919
298 | M10 | FALSE | target | 09 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4407 |  |  | 18.391 | 0.94258 | 18.5339 | 0.15246 | TRUE | 0.24402 | TRUE | 3 | 13 | 82.3919
299 | M11 | FALSE | target | 12 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4389 |  |  | 18.2969 | 0.95139 | 18.5998 | 0.26603 | TRUE | 0.23106 | TRUE | 3 | 13 | 81.4857
300 | M12 | FALSE | target | 12 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4443 |  |  | 18.3198 | 0.9501 | 18.5998 | 0.26603 | TRUE | 0.23106 | TRUE | 3 | 13 | 81.4857
301 | M13 | FALSE | target | 13 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4029 |  |  | 19.4488 | 0.94864 | 19.819 | 0.64935 | TRUE | 0.20527 | TRUE | 3 | 15 | 75.4547
302 | M14 | FALSE | target | 13 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4176 |  |  | 19.4173 | 0.94775 | 19.819 | 0.64935 | TRUE | 0.20527 | TRUE | 3 | 14 | 75.4547
303 | M15 | FALSE | target | 15 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4278 |  |  | 19.022 | 0.95363 | 18.8356 | 0.26607 | TRUE | 0.16815 | TRUE | 3 | 15 | 75.9975
304 | M16 | FALSE | target | 15 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.4211 |  |  | 19.1034 | 0.94564 | 18.8356 | 0.26607 | TRUE | 0.16815 | TRUE | 3 | 14 | 75.9975
305 | M17 | FALSE | target | 17 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20482 | TRUE | 3 | 39 | 79.8188 | 74.6467 | 82.2687 | 77.3688
306 | M18 | FALSE | target | 17 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20482 | TRUE | 3 | 39 | 71.1986 | 74.3744 | 87.2594 | 91.9778
307 | M19 | FALSE | target | 19 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.2368 |  |  | 17.9553 | 0.80324 | 16.673 | 1.083 | TRUE | 0.12836 | TRUE | 3 | 14 | 73.2856
308 | M20 | FALSE | target | 19 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.2163 |  |  | 18.135 | 0.78189 | 16.673 | 1.083 | TRUE | 0.12836 | TRUE | 3 | 13 | 73.3763
309 | M21 | FALSE | target | 21 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.2372 |  |  | 16.1356 | 0.93092 | 16.0668 | 0.32533 | TRUE | 0.078514 | TRUE | 3 | 12 | 74.6977
310 | M22 | FALSE | target | 21 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.2184 |  |  | 16.6787 | 0.73788 | 16.0668 | 0.32533 | TRUE | 0.078514 | TRUE | 3 | 13 | 74.6977
313 | N1 | FALSE | drop_out | 02 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3359 |  |  | 29.6668 | 0.92037 | 31.9425 | 2.4981 | TRUE | 0.062037 | TRUE | 3 | 26 | 73.5027
314 | N2 | FALSE | drop_out | 02 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3423 |  |  | 29.9488 | 0.93278 | 31.9425 | 2.4981 | TRUE | 0.062037 | TRUE | 3 | 27 | 73.4122
315 | N3 | FALSE | drop_out | 04 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12896 | TRUE | 3 | 39 | 55.0397 | 52.5961 | 85.0874 | 49.3379
316 | N4 | FALSE | drop_out | 04 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12896 | TRUE | 3 | 39 | 91.5132 | 89.2506 | 83.5488 | 79.2046
317 | N5 | FALSE | drop_out | 06 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.18226 | TRUE | 3 | 39 | 78.7534 | 81.0179 | 73.9527 | 76.5795
318 | N6 | FALSE | drop_out | 06 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.18226 | TRUE | 3 | 39 | 88.8982 | 91.6156 | 81.0179 | 72.5034
319 | N7 | FALSE | drop_out | 08 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.15396 | TRUE | 3 | 39 | 79.3874 | 66.8876 | 87.5395 | 60.0942
320 | N8 | FALSE | drop_out | 08 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.15396 | TRUE | 3 | 39 | 78.4816 | 91.3438 | 48.3189 | 65.2571
321 | N9 | FALSE | drop_out | 09 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.24402 | TRUE | 3 | 39 | 89.3698 | 71.4266 | 83.1169 | 78.4951
322 | N10 | FALSE | drop_out | 09 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.24402 | TRUE | 3 | 39 | 76.3202 | 88.5542 | 73.8734 | 86.6512
323 | N11 | FALSE | drop_out | 12 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.23106 | TRUE | 3 | 39 | 68.0735 | 78.6764 | 93.8103 | 86.6512
324 | N12 | FALSE | drop_out | 12 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.23106 | TRUE | 3 | 39 | 90.5479 | 75.5046 | 68.9798 | 78.4045
325 | N13 | FALSE | drop_out | 13 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20527 | TRUE | 3 | 39 | 89.4775 | 85.135 | 91.8297 | 82.059
326 | N14 | FALSE | drop_out | 13 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20527 | TRUE | 3 | 39 | 83.6875 | 70.4789 | 88.1205 | 79.5258
327 | N15 | FALSE | drop_out | 15 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.16815 | TRUE | 3 | 39 | 88.9347 | 80.9734 | 78.6212 | 74.2786
328 | N16 | FALSE | drop_out | 15 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.16815 | TRUE | 3 | 39 | 88.3014 | 76.4499 | 80.9734 | 84.1398
329 | N17 | FALSE | drop_out | 17 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20482 | TRUE | 3 | 39 | 75.8263 | 78.4577 | 89.4371 | 80.1817
330 | N18 | FALSE | drop_out | 17 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20482 | TRUE | 3 | 39 | 78.7299 | 68.1134 | 53.5045 | 93.2482
331 | N19 | FALSE | drop_out | 19 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12836 | TRUE | 3 | 39 | 76.6429 | 58.2229 | 80.9984 | 47.6064
332 | N20 | FALSE | drop_out | 19 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12836 | TRUE | 3 | 39 | 76.0985 | 53.1415 | 85.8076 | 59.221
333 | N21 | FALSE | drop_out | 21 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.078514 | TRUE | 3 | 39 | 85.2055 | 74.1542 | 71.3461 | 82.7597
334 | N22 | FALSE | drop_out | 21 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.078514 | TRUE | 3 | 39 | 64.19 | 75.7847 | 73.7919 | 87.7419
337 | O1 | FALSE | NTC | 02 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.3358 |  |  | 29.9451 | 0.95145 | 29.1269 | 1.157 | TRUE | 0.062037 | TRUE | 3 | 26 | 73.5932
338 | O2 | FALSE | NTC | 02 | UNKNOWN | SYBR | NFQ-MGB | AMP | 1.34 |  |  | 28.3088 | 0.94812 | 29.1269 | 1.157 | TRUE | 0.062037 | TRUE | 3 | 24 | 73.5027
339 | O3 | FALSE | NTC | 04 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12896 | TRUE | 3 | 39 | 67.8009 | 87.4405 | 75.4034 | 85.4494
340 | O4 | FALSE | NTC | 04 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12896 | TRUE | 3 | 39 | 87.712 | 93.7758 | 68.706 | 76.2179
341 | O5 | FALSE | NTC | 06 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.18226 | TRUE | 3 | 39 | 85.728 | 88.5359 | 92.3402 | 80.8367
342 | O6 | FALSE | NTC | 06 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.18226 | TRUE | 3 | 39 | 58.4637 | 83.0106 | 60.7282 | 50.1305
343 | O7 | FALSE | NTC | 08 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.15396 | TRUE | 3 | 39 | 68.0651 | 73.5904 | 76.7607 | 84.7316
344 | O8 | FALSE | NTC | 08 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.15396 | TRUE | 3 | 39 | 66.0724 | 91.7061 | 78.844 | 69.152
345 | O9 | FALSE | NTC | 09 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.24402 | TRUE | 3 | 39 | 86.0168 | 82.2106 | 88.1011 | 84.1137
346 | O10 | FALSE | NTC | 09 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.24402 | TRUE | 3 | 39 | 79.9451 | 72.4234 | 69.5235 | 87.5574
347 | O11 | FALSE | NTC | 12 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.23106 | TRUE | 3 | 39 | 76.6827 | 84.8387 | 80.3076 | 68.8891
348 | O12 | FALSE | NTC | 12 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.23106 | TRUE | 3 | 39 | 75.3233 | 88.4636 | 77.2264 | 72.9672
349 | O13 | FALSE | NTC | 13 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20527 | TRUE | 3 | 39 | 59.2607 | 91.5583 | 86.6729 | 82.2399
350 | O14 | FALSE | NTC | 13 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20527 | TRUE | 3 | 39 | 73.5549 | 87.7586 | 91.1964 | 68.6695
351 | O15 | FALSE | NTC | 15 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.16815 | TRUE | 3 | 39 | 79.6163 | 87.4872 | 90.925 | 85.3159
352 | O16 | FALSE | NTC | 15 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.16815 | TRUE | 3 | 39 | 80.3401 | 88.03 | 93.9105 | 77.0832
353 | O17 | FALSE | NTC | 17 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20482 | TRUE | 3 | 39 | 86.6242 | 68.8394 | 72.1967 | 79.0929
354 | O18 | FALSE | NTC | 17 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.20482 | TRUE | 3 | 39 | 90.7075 | 80.5447 | 88.1668 | 71.5615
355 | O19 | FALSE | NTC | 19 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12836 | TRUE | 3 | 39 | 49.7842 | 69.2931 | 80.3632 | 74.3744
356 | O20 | FALSE | NTC | 19 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.12836 | TRUE | 3 | 39 | 76.7337 | 56.8618 | 62.4876 | 66.9338
357 | O21 | FALSE | NTC | 21 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.078514 | TRUE | 3 | 39 | 86.9266 | 67.8133 | 76.3282 | 81.1292
358 | O22 | FALSE | NTC | 21 | UNKNOWN | SYBR | NFQ-MGB | NO_AMP | 0 |  |  | UNDETERMINED | 0 |  |  | TRUE | 0.078514 | TRUE | 3 | 39 | 88.4665 | 59.2984 | 62.65 | 72.5237